Vista/7 Firmware Update Instruction

Before starting the firmware update, make sure that the camera is plugged in and the Firmware Update package is unzipped.

STEP 1: Install Motic USB2 Camera Driver

1. Go to Device Manager (Start ( Right click on Computer ( click on Properties ( click on Device Manager on the side panel)

2. Expand Imaging Device and Right click on the Motic camera (or the device with an exclamation mark) and click Update Driver Software.

3. Click on Browse my computer for driver software.

4. Click on Let me pick from a list of drivers on my computer.

5. Click on Have Disk…

6. Click on Browse…

7. Navigate to the “Motic USB2 Camera” file under the Step 1 folder in the Firmware Update folder and click Open.

8. Click OK

7. Click Next

8. Click Close

STEP 2: Running the Update Tool program

- Open the Step2 folder under the Firmware Update folder.

- Double click on the FirmwareUpdate program to run it.

- Click on the  icon and navigate to the Step3 folder.

- Select the file fmiusb2_24MHZ_1001_2001_3001.bin and click open.

- Then click the Update button.

STEP 3: Refresh

Once the update is finished, unplug the camera, wait for 10 seconds and plug it back in.